## Processing and delivery of PacBio with v11

I want to double check a bunch of assumptions, and I think we now have all the data to do so.

1) The old v10 CCS and HiFi reads have no kinetics data in the BAM files

To check - find a v10 delivery. Let's have

$ cd /lustre-gseg/pacbio/pacbio_data/r64175e_20220401_133539

$ samtools view m64175e_220401_135226.hifi_reads.bam | cut -d $'\t' -f 12- | head

RG:Z:ea328474
ec:f:5.16804
np:i:4
rq:f:0.994807
sn:B:f,16.3852,23.6629,5.99901,11.0217
we:i:9206623
ws:i:5668864
zm:i:0
...

No kinetics or methylation.

2) The default v11 HiFi reads have 5mC calls but no other kinetics data.

$ cd /lustre-gseg/pacbio/pacbio_data/r64175e_20220502_155723
$ cd pbpipeline/from/1_A01

$ samtools view m64175e_220502_161309.hifi_reads.bam | cut -d $'\t' -f 12- | head

RG:Z:04b22f8a
ac:B:i,4,0,4,0
ec:f:4.47222
ma:i:0
np:i:3
rq:f:0.992
sn:B:f,13.231,19.4836,4.46783,8.49723
we:i:157703
ws:i:60
zm:i:0

This is the first v11 run that SMRTino couldn't process. We've gained a 'ac' tag and a 'ma' tag. But this cell has no methylation by the looks of it (?!). But the second cell does:

$ cd pbpipeline/from/2_B01

$ samtools view m64175e_220503_060050.unbarcoded.hifi_reads.bam | cut -d $'\t' -f 12- | head -n 10000 | column -t | less -S

RG:Z:ba4ba920
ac:B:i,18,0,0,16
ec:f:16.6874
ma:i:2
np:i:16
rq:f:0.999716
sn:B:f,10.562,15.9628,3.68406,6.57874
we:i:10757028
ws:i:798720
zm:i:297
MM:Z:C+m,45,33,13,59,3,16, ...
ML:B:C,1,12,5,10,75,254,185,248,2...

OK so this is the 5mC calls (MM and ML) but no other kinetics, as Urmi explained.

What is in the BAM headers?

@PG ID:primrose
    VN:1.2.0 (commit v1.1.0-3-g88e37f5)
    CL:/opt/pacbio/pa-pbprimrose/current/bin/primrose --log-level INFO \
       --stderr-json-log --log-file m64175e_220503_060050.primrose.log \
       --reuse-source-uuid --qv-histogram-report m64175e_220503_060050.5mc_report.json \
       --bam m64175e_220503_060050.hifi_reads.bam \
       m64175e_220503_060050.ccs.consensusreadset.xml
       m64175e_220503_060050.primrose.consensusreadset.xml

This command was supposedly run on the instrument. I'm not sure if I believe it.
Output XML we see is m64175e_220503_060050.unbarcoded.consensusreadset.xml.

3) The CCS file produced with the v11 advanced options has the kinetics data

$ cd /lustre-gseg/smrtlink/sequel_seqdata/r64175e_20220527_151503/2_B01

Again, look at the tags and the headers. Note that the numbers are too long so I had to use some sed silliness:

$ samtools view m64175e_220528_183831.reads.bam \
| cut -d $'\t' -f 12- \
      | head -n 100 \
      | sed 's/\(:[^\t]\{30\}\)[^\t]*\([\t]\|$\)/\1...\2/g' \
      | column -t \
      | less -S

RG:Z:b3a98756
ac:B:i,18,2,20,0
ec:f:20.5144
fi:B:C,11,13,11,25,14,6,13,18,10,15,9,12,19,9,13,11,...
fn:i:9
fp:B:C,16,10,12,17,32,20,12,20,13,10,13,16,19,12,20,...
ma:i:0
np:i:19
ri:B:C,14,23,17,20,10,14,12,10,12,8,16,15,13,38,10,14,...
rn:i:9
rp:B:C,22,21,14,18,29,12,9,30,14,20,19,20,19,8,19,23,...
rq:f:0.999784
sn:B:f,12.2414,19.81,4.08363,7.23105
we:i:8626541
ws:i:9
zm:i:0

OR

RG:Z:b3a98756
ac:B:i,0,0,0,0
fi:B:C
fn:i:0
fp:B:C
ma:i:0
np:i:0
ri:B:C
rn:i:0
rp:B:C
rq:f:-1
sn:B:f,15.5425,24.3927,5.88953,9.62481
we:i:3478282
ws:i:430080
zm:i:4

All the rows in the BAM seem to fall into one of these categories. What's the difference? I'm not sure. The kinetics data seem to be in fi fp ri rp tags.

According to https://pacbiofileformats.readthedocs.io/en/11.0/BAM.html
these are forward(f)/reverse(r) IPD(i)/pulse-width(p), and we should also look at fn and rn which are the numbers of forward and reverse passes.

4) The HiFi file produced by SMRTino from (3) has the same kinetics data (still no 5mC calls) but just has all the Q<20 reads removed.

$ cd /lustre-gseg/pacbio/pacbio_data/r64175e_20220527_151503

$ samtools view m64175e_220528_183831.hifi_reads.bam \
    | cut -d $'\t' -f 12- \
    | head -n 100 \
    | sed 's/\(:[^\t]\{30\}\)[^\t]*\([\t]\|$\)/\1...\2/g' \
    | column -t \
    | less -S

Yes it's the same as (3) but all the reads have the kinetics. So, is it the case that all the reads in the CCS with kinetics are HiFi reads, or are there some reads that have kinetics but are still not good enough to be HiFi? Let's find out.

$ samtools flagstat m64175e_220528_183831.hifi_reads.bam
2403918 + 0 in total (QC-passed reads + QC-failed reads)

(Note that the 'reads.bam' file in this directory is the same CCS file as in (3).)

$ samtools flagstat m64175e_220528_183831.reads.bam
4889864 + 0 in total (QC-passed reads + QC-failed reads)

$ samtools view --tag fn:0 -b m64175e_220528_183831.reads.bam | samtools flagstat -
2241438 + 0 in total (QC-passed reads + QC-failed reads)

4889864 - 2403918 - 2241438 = 244508

So there are some (~10%) of reads that have kinetics info but don't qualify as HiFi.

5) The file produced by https://edgen-smrtlink.epcc.ed.ac.uk:8243/sl/analysis/job/213 will have 5mC calls but no kinetics data and no Q<20 reads and therefore should be the same as (2) - ie. from running:

Application:	"5mC CpG Detection"
Min. CCS Predicted Accuracy:	20
Keep Kinetics In Output:	false

$ cd /lustre-gseg/smrtlink/data/cromwell-executions/pb_detect_methyl/fd887dad-6057-44ec-ad10-823d0522595c/call-pbprimrose/execution

$ samtools view with_5mC.bam \
| cut -d $'\t' -f 12- \
| head -n 100 \
| sed 's/\(:[^\t]\{30\}\)[^\t]*\([\t]\|$\)/\1...\2/g' \
| column -t \
| head -n 20

RG:Z:b3a98756
ac:B:i,18,2,20,0
ec:f:20.5144
ma:i:0 np:i:19
rq:f:0.999784
sn:B:f,12.2414,19.81,4.08363,7.23...
we:i:8626541
ws:i:9
zm:i:0
MM:Z:C+m,7,3,0,0,2,0,0,2,7,3,0,1,...
ML:B:C,153,1,3,0,52,4,2,2,232,9,2...

So this now has the MM and ML headers as before, but no other kinetics.

$ samtools flagstat with_5mC.bam
2403918 + 0 in total (QC-passed reads + QC-failed reads)

The number is identical to (4) which strongly suggests these are the same reads.

My conclusion is that all the above assumptions are sound. In the short term, running the "5mC CpG Detection" step with default params in SMRTLink is going to give us the "default" output (HiFi with 5mC calls). And I should soon (within a couple of weeks) be able to alter SMRTino so it runs this automatically.